## Sheet1
Tata Memorial Centre
Advanced Centre for Treatment, Research and Education in Cancer
Technical Specification of : Electrophoresis System with accessories
Sr.no. | Description of Item | Quantity | COMPLIANCE 1) Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
A) | Name of the Vendor :
B) | Name of the Manufacturer :
C) | Name of the Model:
D) | Year of Introduction Internationally
E) | Year of Introduction in India
Technical Specifications / Scope of Supply
1 | Electrophoresis System with accessories-( As per items A,B and C as menioned below)complete as per below mentioned configuration and specifications:-
2 | A) Vertical Electrophoresis System | 1 Number
3 | Vertical Electrophoresis System capable of 4 gels simultaneously of size 10 x 7.5 cm.
4 | Leak-proof gel casting design. Glass plates with Integrated spacers.
5 | Buffer requirement : approx. 1000 ml
6 | Complete ready to use apparatus should be supplied inclusive of the following accessories:
7 | Buffer tank and lid with power supply cables.-The tank should be such that both the electrophoresis cell modules and trans-blot electrophoretic transfer cell should fit in the same tank. So that the same tank can be used for electrophoresis as well as western transfer. The lid should be with power cables. | 1 set
8 | Electrophoresis Cell modules : It should be suitable for running precast or handcast gels for 1-D and 2-D protein separations. There should be two modules one should be with electrode assembly and other should be the companion running module, so that maximum of 4 gels can be run together. | 1 no. each
9 | Casting stand to cast two gels side-by-side. The spring-loaded lever should create a tight seal against the thermoplastic rubber gaskets to avoid any leakage during gel casting | 1 no
10 | Casting Frames with cam closure | 2 nos
11 | Combs 10 well, 1 mm thick | 5 nos
12 | Combs 15 well, 1 mm thick | 5 nos.
13 | MiniGel buffer dam - one-piece buffer dam to be used when only 1 gel is to be run | 1 no.
14 | Gel releasers: To facilitate removal of gels from the plates | 5 nos.
15 | Sample loading guide: 10 well | 1 no.
16 | Integrated glass plates with 1 mm spacers - both spacer place and short plates should be supplied | 5 pairs
17 | B) Wet Transfer Apparatus | 1 Set
18 | Wet Blotting Transfer Apparatus, as per below specifications should be supplied:
19 | Suitable for transferring two gels of 10 x 7.5 cm size simultaneously. low-intensity overnight transfers should also be supported
20 | Buffer requirement: approx. 450 ml
21 | Complete ready to use apparatus should be supplied inclusive of the following accessories: ( per set)
22 | Buffer Tank with lid and supply cables, | 1 set
23 | Wire electrode plate assembly -2 nos | 2 nos
24 | gel holder cassettes, approx. 8x10 cm | 2 pairs
25 | foam pads, 8 x 11 cm size | 4 nos.
26 | cooling pack | 1 no
27 | Roller | 1 no
28 | C) Power Pack | 1 No.
29 | Suitable power supply of 300 Volts, 400 mA, 75 Watt should be supplied. Power supply should timer, LCD display for run parameters, four output terminals in parallel, etc.
30 | Constant voltage and constant current modes with automatic crossover feature.
31 | Safety features needed: No-load detection, sudden load change detection, overload/short-circuit detection, overvoltage protection
32 | ( Note:Items A, B, and C should be quoted as per specifications. All items should be of the same make and compatible with each other in terms of interchangeability of accessories.. All items should be quoted in total. Partial offers, incomplete offers or offers with different individual make shall not be considered )
33 | Input power supply requirements: 240 V AC ± 10 %, 50 Hz, single phase
34 | Warranty: 2 years-on site- for Power Pack. 1 Year on Electrophoresis Apparatus and Transfer Apparatus. |  | Agree/Not Agree
35 | Important terms to be noted by the bidders:
36 | Quote separately for all models meeting the described technical specifications including the latest model. |  | Agree/Not Agree
37 | Bidders should clearly mention about compliance of the warranty and AMC terms in the technical bid. Bids not fully complying to the warranty and AMC terms are liable to be rejected. |  | Agree/Not Agree
38 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Agree/Not Agree
39 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at one of the end user’s site/Principle company’s application lab/manufacturing site located in Mumbai/Navi Mumbai/Thane cities. If there are no installations of the quoted model in Mumbai/Navi Mumbai/Thane cities, then the quoted model may have to be brought in at ACTREC for demo purpose within 15 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
40 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
41 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder should take responsibility to lift/shift the consignment from unloading site to the installation site . If needed, Bidder has to arrange for the laborers at no charge to ACTREC. ( Bidders may visit ACTREC to know unloading site and installation site) |  | Agree/Not Agree
42 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
43 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms. |  | Agree/Not Agree
44 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". |  | Agree/Not Agree
45 | Provide list of current installations( in the last 2-3 years) of the quoted model in India. Contact details of the end users should be provided. Provide name of the end user, email ID, tel. no. etc. |  | Agree/Not Agree
46 | Decleration by the bidder
47 | We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection. |  | Yes/No