## Sheet1
Tata Memorial Centre
Advanced Centre for Treatment, Research and Education in Cancer
| Technical Specifications Of: Laboratory Centrifuge |  |  | Rukmini Lab
Sr No | Scope of supply | Quantity | COMPLIANCE 1) Mention "Complied /Not Complied" 2) Highlight any deviations. 3) Mention part number/Catalogue number of the relevant item quoted.
A) | Name of the Vendor :
B) | Name of the Manufacturer :
C) | Name of the Model:
D) | Year of Introduction Internationally
E) | Year of Introduction in India
Technical Specifications / Scope of Supply
1 | Laboratory Centrifuge, complete as per below mentioned configuration and specifications: | 1 number
2 | It should be Table-top model, space saving, non refrigerated model, quiet in operation and rugged in construction.
3 | Noise Level: < 70 db
4 | It should be with brushless, maintenance free induction drive motor.
5 | Microprocessor controlled operation with digital/LCD display for speed and time. Keypad for parameter setting.
6 | Stainless steel rotor chamber.
7 | Max. achievable speed with swingout rotor :Not less than 4000 rpm and at least 2500 xg
8 | Timer: Upto 60 min., adjustable to any timing. HOLD/continuous run mode.
9 | It should have a provision for door opening at the time of power failure. ( Manual override for sample recovery in the event of power failure)
10 | Safety features and other features needed:
11 | "Door interlock" safety feature.
12 | Imbalance detection.
13 | Dynamic breaking
14 | Motor overload protection
15 | Gas hinge or similar mechanism to prevent door falling.
16 | Centrifuges should be supplied with following rotor:-
17 | Swing-Bucket rotor : 4 x 100 ml capacity | 1 set incl. of rotor body and 4 swing buckets of 100 ml capacity each
18 | Complete rotor package should be quoted and supplied, incl. of rotor body, 4 rectangular/round buckets of capacity 100 ml each. Capacity to accept at least 12 nos. of 15 ml Falcon tubes and 4 Nos. of 50 mL Falcon tubes per rotor
19 | Max. achievable speed: Not less than 4000 rpm and 2500 x g
20 | Accessories to be supplied:
21 | 15 ml adaptors for Falcon tubes | 4 Nos.
22 | 50 ml adaptors for Falcon tubes | 4 Nos.
23 | After Sales Service Support.
24 | Manufacturer must have its authorised service provider's office located in Mumbai/Navi Mumbai /Thane area. Service provider should have adequare strength of service personnel trained on servicing and maintenance of the quoted model. Bidders who do not qualify this critera shall not be considered. Bidder should provide address of the authorized service centre and details of number of personnel with training credentials. |  | Agree/Not Agree
25 | Warranty: 2 years comprehensive-on site- Factory warranty- for entire equipment. |  | Agree/Not Agree
26 | Input supply voltage: 240 V AC, 50 Hz. Indian standard supply.
27 | Important terms to be noted by the bidders:
28 | Read the above scope of supply carefully and quote accordingly. Incomplete and /or partially complete offers are liable to be rejected. |  | Agree/Not Agree
29 | Product literature / technical sheet should be attached with the technical bid. Bids without Product literature / technical sheet may liable to be rejected. |  | Agree/Not Agree
30 | Item/Equipment quoted should not be a second hand/refurbished/on verge of obsolescence/outdated model. Similarly, after award of contract, the item supplied should be a newly manufactured item and not the old item already manufactured and stocked for more than 1 month. |  | Agree/Not Agree
31 | After opening of the Technical bid (Part-1), Physical demonstration of the quoted model may have to be shown / arranged by the bidder, if requested by the Institute. Physical demonstration may be shown at ACTREC for demo purpose within 15 days from the date of request. Physical Demonstration may be requested to confirm the availability of any or all technical features as mentioned/stated in the technical bid. Physical Demonstration will also be a part of technical evaluation process. If the bidder does not comply, such bids are liable to be disqualified. (Demonstration of quoted model is to be shown and not the demonstration of similar models with different technical specifications and features) |  | Agree/Not Agree
32 | Past experience of the bidders in terms of quality of supplied equipments, after sales service and application support will be taken into consideration while technical evaluation.. Bidders who has unsatisfactory past experience in last 2-3 years, in terms of quality of supplied equipments, after sales service and application support, bids of such bidders may liable to be rejected. |  | Agree/Not Agree
33 | Unpacking and Shifting the consignment to the installation site is to be included in the scope of supply. Bidder should take responsibility to lift/shift the consignment from unloading site to the installation site . If needed, Bidder has to arrange for the labourers at no charge to ACTREC. ( Bidders may visit ACTREC to know unloading site and installation site) |  | Agree/Not Agree
34 | Complete and detailed information should be provided in respect to each point specified in the specifications. Technical bids that are incomplete in any respect are liable to be rejected. Provide relevant supportive information, publications, catalogue, etc. Bidders providing misleading or wrong information are liable to be rejected. All technical claims should be printed in the technical brochure of the equipment. |  | Agree/Not Agree
35 | If any contradictory statements /figures/information is observed in the compliance chart and in the technical bid, then the technical information mentioned in the product literature/brochure will be considered true and further evaluation will be done based on the information given in the product literature/brochure. Regarding the warranty and free AMC terms, information quoted in the technical bid will only be taken as valid terms. |  | Agree/Not Agree
36 | Compliance column may be filled with relevant data, figures, range etc. as applicable. Do not just mention "YES / NO / Complied ". |  | Agree/Not Agree
37 | Provide list of current installations( in the last 2-3 years) of the quoted model in India. Contact details of the end users should be provided. Provide name of the end user, email ID, tel. no. etc. |  | Agree/Not Agree
38 | Decleration by the bidder
39 | We have quoted for all the items meeting the description/scope of supply in the Financial bid as per prescribed format of the Tender documents and we agree that Partial/incomplete offers are liable for rejection. |  | Yes/No