## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: | Director TMC
Name of Work: | Supply,Installation,testing and commissioning of Drip and Sprinkler Irrigation System in front of Asha Niwas building at ACTREC
Contract No: | TMC/ACTREC/ENGG/VK/LT-02/SITCof Drip Sprinkler Irrigation System/2023.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply, laying & jointing of PVC/ASTM pipe, conforming to ISI : 4985 / 2000 and suitable for the respective working pressures with all fittings and accessories e.g. couplings, tees, bends, reducers, screwed adapters, flanged tail pieces etc. jointing, clamps as per manufacturers' instruction, etc. item complete. | item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | PVC pipe 50mm-06 kg/cm2 | item2 | 90 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | PVC pipe 40mm-06 kg/cm2 | item3 | 120 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | ASTM Pipe 1.5" SHD 40 | item6 | 40 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Digging trenches in all types of starta for laying down pipes preparing soft bedding for pipes, refilling etc. Complete (Depth 450 mm & Width 300 mm) | item7 | [50 empty] | 0 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Soft Strata | item8 | 210 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Hard Strata | item1 | 40 | RM |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply, Fixing & commissioning of Black colored Drip 16mm inline (Linear low-density polyethylene (LLDPE)), high-efficiency, ultra durable with Operating pressure range: 1.0 to 4.1 bar ,color coded striping ,Emitter inlet filtration to prevent clogging , 80% preconsumer reprocessed resins, Minimum filtration: 120 mesh 125 microns, Class Two, flow rates 2 to 4 Lph | item2 | 200 | Rm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Providing & fixing of Spray Pop up of 3- 5.2 m Nozzle. The Spray Head body shall be Slim Line constructed of heavy-duty, ultraviolet resistant plastic and stainless steel spring etc. item complete. | item3 | 35 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Providing & Fixing of Pop up Connecting Four Elbow 1/2" Swing joint Assembly. The fittings shall be made of UV resistant thermo plastic.etc. item complete. | item6 | 35 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Providing and fixing of PVC /HDPE Service saddle of varying size 1/2' etc. item complete. | item7 | 35 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Supply and installation of Ball Valve as Control valves of suitable size as per specifications including the cost of all fittings& accessories complete. | item8 | [50 empty] | 0 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | 50mm Size Ball Valve | item1 | 3 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Providing & fixing of a double acting 1" Air release valve, The Air release valve shall be capable of both releasing and admitting air from and into the line. The working pressure shall be 5 bar. Including service saddle and riser assembly | item2 | 1 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Providing & fixing of 10" Round Valve Box with green lid and corrugated structure with unique shovel access slot and bolt hole knock out t.etc. item complete. | item3 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing & fixing of Brass Quick coupling valve 3/4" made up of plastic with locking cover corrosion resistant and stainless steel spring. Including service saddle and riser assembly. etc. item complete. | item6 | 1 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | Providing & fixing of Brass Key & Elbow threads into top of QCV to provide water access And Brass Swivel Elbow etc. item complete. | item7 | 1 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Supply and fixing of 6" Round Valve Box for Quick Coupling valve & air release valve with all fittings & accessories. | item8 | 1 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Supply and fixing of PVC Flush Valve 63-40 mm size with all fittings & accessories | item8 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words | [51 empty] | INR Zero Only

## Macros
Please Enable Macros to View BoQ information