## BoQ1
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: | Director TMC
Name of Work: | Appointment of structural Consultant for " Structural Audit, feasibility study, and preparation of BOQ for strengthening the Parijat building at ACTREC.
Contract No: | TMC/ACTREC/ENGG/ZS/SQ-92/Structural Audit in Parijat Building /2023.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | HSN Code | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Visual observation and rebound hammer test: Identify & note the distress, damages, leakages and take required photographs including total internal & external data collection of the building and to know the strength rebound hammer test. | item3 | 1 | LS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Carbonation Depth Test: Preparing the surface of RCC structural member such as beams, columns, slabs, water tank walls & slab etc by chipping the plastered surface/finishing/cladding to expose the concrete, cutting etc as per relevant code and conducting carbonation test at various depth as directed by consultant using phenolphthalein of specified concentration to assess depth of carbonation including analysis of the test result & preparation of separate report for each building with observations and recommendations for remedial measures if any. | item3 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Half Cell Potential Test for Corrosion mapping. Preparing the structural members as directed to expose the reinforcement steel, cleaning the area with blower/wire brush and carrying out half-cell potentiometer test for measuring the level of corrosion of reinforcement steel in the RCC member including analysis of the test result & preparation of separate report for each building with observations and recommendations for remedial measures if any. ASTM C 876 - 2015. | item4 | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Core Test: Deciding the location by using “Rebar Locator/Cover Meter” and Preparing the structural members as directed to expose the concrete, cleaning the area with blower/wire brush and taking out the concrete sample with cutter and testing as per standard specification including analysis of the test result & preparation of separate report for each building with observations and recommendations for remedial measures if any. as per IS: 516 – 1959 Reaffirmed 2013. | item4 | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Chemical test such as chrolide penetration test, sulphate content and PH content on the core samples available during core test done on samples. Separate report to be submitted for the same. | item4 | 10 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Preparation of complete report which includes conclusions of all the test reports and findings. Instructions for remedial measures, preparation & submission of appropriate retrofitting, repair method and strengthening scheme if strengthening not possible then providing BOQ/estimate for external type structure for complete or partial load transfer to the ground by having strucutural members attached to the existing column and beam structure. Including preparation & Submission of BOQ/estimate for structural strengthening, retrofitting, repair & allied works. | item4 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words | [51 empty] | #VALUE!
Validate
Print
Help

## Macros (hidden)
Please Enable Macros to View BoQ information