## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: | Director TMC
Name of Work: | “Renovation of Director TMC room, PS building at ACTREC.”
Contract No: | TMC/ACTREC/ENGG/PG-258/LT-161/Renovation of Director TMC Room/2025
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material outside ACTREC as per direction of Engineer-in-charge.. | item1 | 5 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 or AAC blockwork with adhesive in superstructure above plinth level in all shapes and sizes or in Cement mortar 1:4 (1 cement : 4 coarse sand) as per the instruction of Engineer incharge. | item2 | 1.5 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. 18mm | item3 | 40 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Painting with silicon & acrylic emulsion based water thinnable sealer of approved brand and manufacture on wet or patchy portion of plastered surfaces: Two coats | item4 | 216 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item5 | 55 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Providing & Fixing decorative high-pressure laminated sheet of plain / wood grain in gloss / matt / suede finish with high-density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1 mm thick. This laminate is to be mounted on 18mm plywood. The rate of plywood is inclusive | item6 | 45 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Providing and fixing 12 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. Marine plywood conforming to IS: 710 | item7 | 30 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Providing and fixing plywood 4 mm thick, one side decorative veneer conforming to IS: 1328 (type-1), for plain lining / cladding with necessary screws, including priming coat on unexposed surface with : Decorative veneer facings of approved manufacture | item8 | 10 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Dismantling table and refixing the table | item9 | 1 | lot |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Providing and fixixng of Mirror Size ( 1200x1800) | item10 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Providing and fixing white vitreous sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : Size 600x450x200 mm. | item11 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing & fixing machine tufted cut pile carpet of premium quality 100% pure wool & 1/8" gauge, 2/3 ply polypropylene roll form approved shade carpet. | item12 | 55 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and laying gang saw cut 18 mm thick, mirror polished pre-moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. | item13 | 9.94 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Providing & fixing of CNC cut SS letter in the board of size 0.5 mtr*2.5 mtr as per content approved by EIC with 2 set of logos. The board made out of 18mm marine plywood and border has 75 mm woodem moulding running at all four sides. The core ares will be finished with approved laminate. The item will be composite rate iclusive of all items | item14 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | French spirit polishing : One or more coats on old work. | item15 | 15 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing and fixing of designer roller blinds in windows as per shade selected by EIC including all materials | item16 | 12.24 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, | item17 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.1 | shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge cementious plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | item18 | 15 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18 | Electrical works | item19 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.1 | SITC of LED strip / rope lights 10watt to 15watt per meter, colour temp as directed by EIC ES | item20 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.2 | LED strip light drivers 6A to 10A as directed by EIS ES | item21 | 5 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.3 | SITC of alluminium profile housing for LED strip lights as directed by EIC ES | item22 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Supplying and fixing following size/ modules, PVC / GI box alongwith modular base & cover plate for modular switches in recess etc. as required. | item23 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.1 | 1/2 Module | item24 | 8 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.2 | 3 Module | item25 | 15 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.3 | 6 Module | item26 | 20 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item27 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.1 | Modular switch 6A/16A | item28 | 60 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.2 | Modular Socket 6A/16A | item29 | 30 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20.3 | 16 to 32A DP MCB with Modular box including face plate surface / conealed type (Composite) | item30 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | Data and Telephone | item31 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.1 | SITC of CAT 6 LAN cable for DATA including 25mm PVC Conduit Supply ,Installation,Testing & Commisioning of of UTP 23 AWG 4 pair CAT 6 LAN Cable to TIA/ EIA 568 B.2.1.in the surface/ recessed steel/ PVC conduit as required. | item32 | 305 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.2 | SITC of Cat 6 type I/O with RJ 45 socket with Box, faceplate and fixing screws, having the compliance/certifications for ISO 9001:2015 & ROHS | item33 | 8 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | Lights and wires | item34 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.1 | Supply ,Installation,Testing & Commisioning of LED shaped 15watt to 18 Watt Premium Range Recessed Downlighter having die cast aluminum housing with in built driver - Non Dimmable - as per the make approved by engineer incharge and architect.The material should be of premium range of products with reputed make and should have relevant electrical certification. Lumens more than 100Lumens/watt pressure die-cast aluminimum housing with white front bottom frame suitable to following features. LED fixture to be fixed surface or concealed as per site requirement. - Luminaires suitable to Aluminium metal grid ceiling or Gypsum or POP, -Minimum System Lumen output 1800 lumens -In built electronic LED pre wired driver, -Luminaire shall be with special translucent --High Surge Protection:-2.5kV. -High diffuser>85%, -Provision of Spring loaded Mounting clips. -Opal Translucent cover/Poly Carbonate reflector. -CRI>80,THD<10%. -High Efficacy gretaer than or equal to 100 lm/watt, -Provide Uniform low glare lighting non yellowing/PMMA lens for better light distribution, -Operatable voltage - 220-240 V,50 Hz, PF>0.9, -Colour Temperature gretaer than or equal to 4500K to 5500K | item35 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.2 | SITC of Primary point wiring for light point/ fan point/ exhaust fan point/ call bell point with 2 x 1.5sqmm + 1 x 1.5sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed including medium class PVC conduit Heavy(HMS) / casing capping , with modular switch , modular plate, suitable GI box for concealled , suitable PVC box for surface , ceiling fan rose , PVC junction box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (Average circuit lenght 20 mtr) | item36 | 10 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.3 | SITC Secondary point wiring light to light looping with 2 x 1.5sqmm + 1 x 1.5sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed including medium class PVC conduit Heavy(HMS) / casing capping , with modular switch, modular plate, suitable GI box for concealled , suitable PVC box for surface , ceiling fan rose , PVC junction box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. ( Average circuit length 10 Mtr ) | item37 | 10 | Point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.4 | SITC of Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable including surface/ recessed PVC conduit Heavy(HMS) as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire from main distribution board to power point circuits and lighting switchboard. | item38 | 175 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required and floor cut clearing if required to be driven through the floor | item39 | [5 empty] | Excess(+) | 1 | Full Conversion | INR | [43 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.1 | 100 mm width X 50 mm depth X 1.6 mm thickness | item40 | 15 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.2 | Mirror light | item41 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.3 | 100 x 50 x 2 mm (Composite) PVC trunk | item42 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.4 | Exhaust fan 225 MM Metal body with lauers | item43 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23.5 | Removing or refixin of all electrical fixtures , Fire alarm systems , IT networking devices as per instrucations of EIC | item44 | 1 | Lot |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words | [51 empty] | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information