## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Director ACTREC
Name of Work: “Expansion of Cell Culture room for KS 150 Lab in CRI at ACTREC.”
Contract No: TMC/ACTREC/ENGG/PG/SQ-168/Cell Culture Room KS-150/2025.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material outside ACTREC campus as per direction of Engineer-in-charge. | item1 | 2.5 | Cum |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal disposal of unserviceable material outside ACTREC campus as per direction of Engineer-in-charge. | item2 | 5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Dismantling dado or flooring and granite platform and cleaning the surface for plaster including disposal of unserviceable material outside ACTREC campus as per direction of Engineer-in-charge. | item3 | 15 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | Removing the existing PVC flooring alongwith handing over servicable material and disposal of waste as per instruction of Engineer in charge. | item4 | 220 | Sqft |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5 | Providing & laying poly vinyl chloride (PVC) rolls flooring manufactured of approved make and approved pattern for flooring, skirting/dado laid on existing cement tile or concrete of plastered floor finish with suitable adhesive as per manufacturers specifications close jointed and finished to proper bends, slopes and plumbs as directed etc. complete generally as per manufacturer’s specifications. :Providing & laying new 2mm thck PVC flooring tiles. | item5 | 240 | Sqft |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6 | Providing & Applying one / two coats of primer & thereafter two coats of paint as mentioned First quality to the required colour scheme and as per manufacturers instructions / specifications to the walls, beams, columns, ceilings, partitions doors etc. including thoroughly scrapping the existing surface with sand papers, removing old paint, filling up crevices and levelling with waterproof putty / plaster of paris of necessary to obtain smooth surface etc. complete job including removal of stains, painting spots on floors,aluminium window frame & glass etc as to the entire satisfaction of engineer in charge :With Luster Paint two coats of primer and two coats of paint. ( Rate inclusive of scafflolding, labour charges, ladder etc.) | item6 | 90 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7 | Providing and Applying and Levelling the existing surface with Birla White Cement based / Coloured waterproof Putty of average thickness of 2 mm of approved thickness, brand and manufacture, over the plastered wall surface to prepare the surface even and smooth ready for painting purpose etc complete ( Rate inclusive of Scaffolding Material, Labour Charges) Etc. Only to be applied at distressed areas and newly plastered surface as per the instruction of Engineer incharge. | item7 | 80 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8 | 15 mm cement plaster of mix for wall with ready mix plaster wherever required as per the instructions of Engineer incharge | item8 | 9 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | PLYWOOD:Providing & fixing 6mm thick approved quality machine pressed phenol formaldehyde bonded commercial/marine ply wood of approved size and fixing the same with necessary nails/screws/adhesive in partition cupboard shelves/tables/flush doors etc. at all floors and locations in quantities as required at site in following thickness including 6 mm thick T.W.lipping patti at all exposed edges with nails/screws/hardwares/adhesive wastage in cutting , transportation etc. complete all as directed by the Engineer-In-Charge. | item9 | 10 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Flamed finish granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | item10 | 2.5 | Sqm |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | provide and making Structural steel table in single section, fixed with or without connecting plate,including cutting, hoisting, fixing in position and applying a priming coat and of approved steel primer and painting and finish all complete. | item11 | 200 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Provide mid back Chairs as per selection | item12 | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | ELECTRIC WORK | item13 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
14 | Supplying and fixing 32 Amps DP MCB C Curve suitable for inductive load and including metal enclosure box , earthing and fixing accessories with connections,Testing and commissioning etc. as required. | item14 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable including surface/ recessed medium class PVC conduit , bends and all fixing accessoreis as required. 2 X 2.5 sq. mm + 1 X 2.5sq. mm earth wire | item15 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable including surface/ recessed medium class PVC conduit , bends and all fixing accessoreis as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire FOR POWER POINTS | item16 | 40 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Fixing of PVC conduit/ Truncking. Supply & Fixing of PVC rigid conduit of following suitable size with spacers & saddles screws, rawal plug etc. along with all accessories complete in all respect on any hard surface/wall/trench/ceiling etc. Compete as per instruction of EIC. | item17 | 25 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Supply & Fixing of casing capping of 1.25 inch size with screws, rawal plug etc. along with all accessories complete in all respect on any hard surface/wall/trench/ceiling etc. Complete as per instructions of EIC. | item18 | 30 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | 18W Square, surface-mounted LED lighting fixture. | item19 | 3 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed including medium class PVC conduit / casing capping , with modular switch, modular plate, suitable GI box , ceiling fan rose and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group A | item20 | 6 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Secondary point wiring light to light looping with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. including PVC conduits , Bends and all fixing accessories. | item21 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Supplying and fixing the 6 Module PVC box along with modular base & cover plate for modular switches in surface / concealed, etc. as required. | item22 | 6 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item23 | [5 empty] | Excess(+) | 1 | Full Conversion | INR
24 | Modular switch 6A/16A | item24 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Modular Socket 6A/16A | item25 | 12 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | SITC of Modular fan regulator (2 module size) | item26 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | SITC of Telephone socket RJ -11 | item27 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | SITC of Cat 6 type I/O with RJ 45 socket with Box, faceplate and fixing screws etc. | item28 | 1 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | SITC of CAT 6 LAN cable for DATA/ Telephone through provided size of PVC Conduit , bends , and all fixing accessories | item29 | 60 | Rmt |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | 36 W Germicidal fluorescent ULitrea-violet light fixture with tube 4 feet | item30 | 2 | Each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Removing and refixing of existing lightings fixtures , switch sockets as directed by OIC / EIC | item31 | 1 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures | [51 empty] | 0 | 0
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information